Flowmeter Seminar Outline

Introduction					(8:30-9:00)

# Fluid Flow Fundamentals			(9:00-10:15)

- Pressure

- Temperature

- Density (specific gravity)

- Fluid Expansion

- Types of flow							[Chapter 2]

- Inside pipe diameter

- Viscosity

- Reynolds number and velocity profile			[Chapter 2]

- Hydraulic phenomena

- Energy considerations

# Flowmeter Technology			(10:30-12:00)

- Principle of operation						[Chapter 2]

- Flowmeter design						[Chapter 3]

- Transmitter design						[Chapter 4]

- Installation							[Chapter 12]

- Accessories							[Chapter 13]

- Other flowmeter technologies

# Flowmeter Performance			(1:00-2:15)

- Performance statements					[Chapter 8]

- Reference performance					[Chapter 9]

- Actual performance						[Chapter 10]

- Supplier claims						[Chapter 11]

# Consumer Guide				(2:30-4:00)

- Supplier data and analysis					[Chapter 5, 6]

- Attachments

  - Categories						[Yellow Section]

  - Availability of selected features			[Yellow Section]

  - Models grouped by performance			[Gray Section]

  - Models grouped by supplier				[Gray Section]

Level Gauge Seminar Outline

Introduction					(8:30-9:00)

# Level Measurement Fundamentals		(9:00-10:15)

- Temperature

- Density

- Pressure

- Expansion

- Viscosity

- Static Interface Geometry

- Types of Level Measurement

- Vessel Geometry

- Dynamic Phenomena

# Non-Contact Level Measurement Technology	  (10:30-12:00)

- Principle of operation						[Chapter 3]

  - Laser

  - Non-Contact Radar

  - Ultrasonic

- Sensor Geometry

- Transmitter design						[Chapter 4]

- Installation							[Chapter 12]

- Accessories							[Chapter 13]

- Other Level Gauge Technologies				[Chapter 2]

# Level Gauge Performance			(1:00-2:15)

- Performance statements					[Chapter 8]

- Reference performance					[Chapter 9]

- Actual performance						[Chapter 10]

- Supplier claims						[Chapter 11]

# Consumer Guide				(2:30-4:00)

- Supplier data and analysis					[Chapter 5, 6]

- Attachments

  - Categories						[Yellow Section]

  - Availability of selected features			[Yellow Section]

  - Models grouped by performance			[Gray Section]

  - Models grouped by supplier				[Gray Section]

Differential Pressure Flow/Level Measurement

Fluid Properties

- Temperature

- Pressure

- Density and Fluid Expansion

- Types of Flow

- Inside Pipe Diameter

- Viscosity

- Reynolds Number and Velocity Profile

- Hydraulic Phenomena

Differential Pressure Flowmeters

- Principle

- Primary Flow Elements (Orifice Plate, Venturi, Nozzle, V-Cone)

- Transmitter Designs

- Manifold Designs

- Installation

  - Fluid Characteristics

  - Piping and Hydraulics

  - Impulse Tubing

  - Electrical

  - Ambient Conditions

  - Calibration

  - Accessories

  - Flowmeter Performance

Differential Pressure Level Transmitters

- Liquid Pressure

- Static Liquid Interface Geometry

- Types of Level Measurement

- Vessel Geometry

- Dynamic Phenomena

- Installation

- Differential Pressure Level Calculation Exercises

Consumer Guides

Fieldbus Network Equipment for Process Control Seminar Outline

Introduction					(8:30-9:00)

# Fieldbus Technology and Architecture	(9:00-10:15)		      [Chapter 2, 3]

- Foundation™ Fieldbus (H1 and HSE)

- Profibus-PA

- HART

# Fieldbus Functions				(10:30-12:00) 		        [Chapter 4]

- Foundation™ Fieldbus

  - Function blocks

  - Resource blocks

  - Transducer blocks

  - Device Descriptions (DD)

  - Device Description Language (DDL)

- Profibus-PA

  - GSD

  - EDD/EDDL

  - Profiles

  - FDT/DTM

- HART

  - Device Descriptions (DD)

  - Device Description Language (DDL)

# Fieldbus Hardware				(1:00-2:15) 		   [Chapter 5, 6, 12]

- Field transmitters

- Control valve positioners

- Controller interface cards

- Installation

# Performance Comparison			(2:30-4:00)		[Chapter 8, 9, 10, 11]

- Analog single station control

- DCS control

- HART

- Profibus

- Foundation™ Fieldbus

Supplier performance claims